Protocol for plate-based scATAC-seq using FACS

Modified by Yuqiong Hu 29-Jul-2019

- One day before the experiment, prepare the plates by aliquoting 2μl 2X Lysis Buffer to each

well of the plates (96-well). Then add 2μl of 10μM S5xx/N7xx Nextera Index Primer Mix (5μM each) to each well. Seal the plate and store in -80 °C.

Recipe for 2X Lysis Buffer:

|  | Stock | Final con. | Volume (μl) |  |
| --- | --- | --- | --- | --- |
| Tris-HCI, pH 8.0 | 1M | 100mM | 0.2 |  |
| NaCl | 1M | 100mM | 0.2 |  |
| Proteinase K | 20mg/ml | 40ug/ml | 0.004 |  |
| SDS | 10% | 0.4% | 0.08 |  |
| H2O |  |  | 1.516 |  |
| Total |  |  | 2 |  |

2. On the day of the experiment, thaw plates at room temperature.

3. Pre-coat all tubes with 500μl 0.5% BSA (prepared in 1X PBS) for a few minutes to reduce sample loss. Count or sort 5k - 50k cells into 1.5-ml eppendorf tubes. DO NOT use DNA LoBind tubes for pelleting cells, which does not work well especially when cell numbers are limited.

4. Wash the cell, pellet with 100μl ice-cold PBS, twice, 500 g, 4 °C, 5 minutes, and carefully remove the supernatant.

5. Pellet cells with 300-500μl ice-cold Omni-ATAC Lysis Buffer and leave on ice for 3 minutes.

Recipe for Omni-ATAC Lysis Buffer:

|  | Stock | Final con. | Volume (μl) |  |
| --- | --- | --- | --- | --- |
| NP40 | 10% | 0.1% | 10 |  |
| Tween-20 | 10% | 0.1% | 10 |  |
| Tris-HCl, pH7.4 | 1M | 10mM | 10 |  |
| NaCl | 1M | 10mM | 10 |  |
| MgCl2 | 1M | 3mM | 3 |  |
| Digitonin | 5% | 0.01% | 2 |  |
| H2O |  |  | 955 |  |
| Total |  |  | 1mL |  |

6. Resuspend the cell pellet in 50μl tagmentation mix. Recipe for the tagmentation mix:

|  | Volume (μl) |  |
| --- | --- | --- |
| 4X THS-seq TD buffer | 12.5 |  |
| 10X Digitonin | 5 |  |
| H2O | 22.5 |  |
| Tn5 | 10 |  |
| Total | 50 |  |

Recipe for 4X THS-seq TD buffer:

|  | Stock | Final con. | Volume(μl) |  |
| --- | --- | --- | --- | --- |
| Tris-acetate, pH 7.8 | 1M | 132 mM |  |  |
| Potassium acetate | 2M | 264 mM |  |  |
| Magnesium acetate | 0.5M | 40 mM |  |  |
| Dimethylformamide (DMF) | 100% | 64% |  |  |
| Total |  |  |  |  |

Recipe for 10X Digitonin: 1μl Digitonin (5% stock) + 49μl H2O

7.Put the tagmentation reaction (50μl) on a thermomixer, 37℃, 800 rpm, 30 minutes.

8. Stop the reaction by adding 50μl tagmentation stop buffer (TSB). Recipe for TSB:

|  | Stock | Final con. | Volume(μl) |  |
| --- | --- | --- | --- | --- |
| Tris-HCI, pH 8.0 |  | 10 mM |  |  |
| EDTA, pH 8.0 |  | 20 mM |  |  |
| Total |  |  |  |  |

9. Leave on ice for 10 minutes.

10. Add 100-300μl PBS/0.5% BSA to the 100 μl stopped tagmentation mix, and transfer to a FACS tube. Add DAPI to stain nuclei (1:1k-10k)

11. Sort DAPI positive single nuclei into the plates prepared the day before.

12. Quickly spin down and seal the plate well (can be stored in -80℃ for a few weeks from here), and put the plate on a PCR machine, with lid temperature set to 100℃.

13. Incubate the plate at 65℃ for 15 minutes to perform Tn5 release.

14. Add equal volume (4μl) of 10% TWEEN-20 to each well to quench SDS. Briefly vortex to mix.

15. Add (2μl H2O+ 10μl 2X KAPA PCR Mix) to each well.

16.	At this stage, each well contains 20μl PCR reaction.

17. Perform library amplification PCR:

72℃ 10 minutes; 98℃ 5 minutes; [98℃ 10 seconds, 63℃ 30 seconds, 72℃ 20 seconds] x 20 cycle; 4℃ hold.

扩增完抽测浓度，参考范围 5ng/μl -13ng/μl

18. Pooling: 4板，5μl/well, zymo 过柱，25μl洗脱

19. 跑2%的琼脂糖胶回收200bp-500bp片段（小于700bp）